Weather Station

Functional Requirements

- Collects data

| Data Unit | Unit of Measure | Level of Precision |
| --- | --- | --- |
| Air temperature | Fahrenheit | To nearest whole degree. |
| Ground temperature | Fahrenheit | To nearest whole degree. |
| Wind speed | MPH | To nearest whole mile. |
| Wind direction | Degrees | To nearest whole degree. |
| Barometric pressure | Inches | To hundredths of an inch. |
| Amount of precipitation | Inches | To hundredths of an inch. |

- Summarizes data.  (Creates a table of latest data values when a request is received from the main computer.)

- Transmits data to area computer in response to a request.  (Also sends a station ID, which identifies the location of the weather station that is used by the COTS forecasting system to identify weather patterns.)

Non-functional Requirements

- Reliability  -Operates unattended (can be remotely located).

- Performance  -Continuously collects and summarizes data

- Security  -Communicates over a secure link with the area computer.